
[image: image18.png]



MECHANICAL 90 – 6AL and MECHANICAL 90 – 4AL
􀂾 Maximum height 9 meters

􀂾 330° manual rotation of the tower

􀂾 Telescopic galvanized (20 micron) mast with 7 sections

􀂾 Mounted on slow trailer with : Single axle; road tyres; mudguards

􀂾 Max wind stability (with generating set): 80Km/h

􀂾 Lamps complete with bulbs

􀂾 System to ignite the floodlights placed into the command box at the base of the tower to permit an easy

mainenance

􀂾 Coiled electrical cable for feeding of the floodlights complete of housing

􀂾 Sight level indicators

􀂾 Special cabinet to contain: hydraulic pump to rise-lower the tower, safety system to lower the tower in case of

damage of the hydraulic system, joystick to control the actions of the tower, On/Off swicth woth circuit braker

one for each lamp

􀂾 4 adjustable in height stabilizers for a perfect implantation of the tower on earth

􀂾 Adjustable floodlights on horizontal and vertical position

􀂾 Lifting points

􀂾 Adjustable stabilizers mounted on the rudder
MECHANICAL 90 - 4AL Halogen 4 x 1000 W or 6 x 1500 W

MECHANICAL 90 – 6AL Halogen 6 x 1000 W or 6 x 1500 W

L x W x H mm open  =
4350 x 1605 x 9000

L x W x H mm closed =
4350 x 1525 x 2587 
L x W x H mm internal = 
1800 x 900 x 1200

Weight =
               550 Kg

[image: image2]
HYDRAULIC 90 – 6AL and HYDRAULI 90 – 4JM

􀂾 Maximum height 9 meters

􀂾 330° manual rotation of the tower

􀂾 Telescopic galvanized (20 micron) mast with 7 sections

􀂾 Mounted on slow trailer with : Single axle; road tyres; mudguards

􀂾 Max wind stability (with generating set): 80Km/h

􀂾 Lamps complete with bulbs

􀂾 System to ignite the floodlights placed into the command box at the base of the tower to permit an easy

mainenance

􀂾 Coiled electrical cable for feeding of the floodlights complete of housing

􀂾 Sight level indicators

􀂾 Special cabinet to contain: hydraulic pump to rise-lower the tower, safety system to lower the tower in case of

damage of the hydraulic system, joystick to control the actions of the tower, On/Off swicth woth circuit braker

one for each lamp

􀂾 4 adjustable in height stabilizers for a perfect implantation of the tower on earth

􀂾 Adjustable floodlights on horizontal and vertical position

􀂾 Lifting points

􀂾 Adjustable stabilizers mounted on the rudder
HYDRAULIC 90 - 6AL Halogen 6x1000 W or 6x1500 W

HYDRAULIC 90 - 4JM Metal Halide 4x1000 W

L x W x H mm open =

4350x1605x9000
L x W x H mm closed =

4350x1525x2587 
L x W x H mm internal =

1800x900 x1200 
Weight = 


600 Kg
[image: image3.emf]
MONO 55
􀂾 Maximum height 9 meters

􀂾 330° manual rotation of the tower

􀂾 Galvanized telescopic mast with 20micron of material guaranteed in eternal for

outdoor application with 7 sections

􀂾 Lighting tower mounted on a single axle slow trailer

􀂾 2 roads tyres complete of mudguards

􀂾 Structure ideal for building application

􀂾 Eyelets for towing the complete structure

􀂾 Special rings and pockets to permit an easy actions of the tower with crane and forklift

􀂾 Certified at a maximum wind speed of 80Km/h

􀂾 On/Off switches for each lamp

􀂾 Lamps complete with bulbs

􀂾 Adjustable floodlights around the vertical and horizontal position

􀂾 Coiled cable complete of housing for feeding the floodlights

􀂾 Spirit levels on each side for checking the perfect implantation of the tower on earth

􀂾 4 rugged stabilizers adjustable in height

􀂾 Hard wearing powder coated paint finish for higher protection
4 x 500 W 

L x W x H mm open = 
1950 x 2020 x 5500 
L x W x H mm cloed = 
2070 x 850 x 1200
L x W x H mm internal  =
  900 x 530 x 730

Weight =

 110 Kg

KIT 55 / KIT 70 / KIT 90[image: image4.emf]
􀂾 Maximum height 5,5/7/9 meters

􀂾 Telescopic stainless steel mast

􀂾 360° manual rotation of the tower

􀂾 Usable by single operator

􀂾 Wind stability 130 Km/h

􀂾 Manual winch with automatic brake,

maximum load 350-550 kg

􀂾 Stainless steel raising/lowering

cable 133 wires

􀂾 Halogen lamps in standard configuration

􀂾 Lamps complete with bulb
KIT 55 Halogen 4 x 500 W 

L x W x H mm open =
600 x 340 x 5500 

L x W x H mm closed =
260 x 340 x 1900 

Weight =

64 kg

KIT 70 Halogen 4 x 500 W or 2 x 1500 W 
L x W x H mm open =
1070 x 340 x 7000
L x W x H mm closed =
 260 x 340 x 2100 
Weight =

75 kg
KIT 90 Halogen 4 x 1000 W or 4 x 1500 W
L x W x H mm open = 
1070 x 340 x 9000
L x W x H mm closed =
 260 x 340 x 2460 
Weight =

83 kg
[image: image5.emf]
MODULS 70

􀂾 Max height: 7 meters

􀂾 Stainless steel lighting tower

􀂾 Manual winch with automatic brake

􀂾 4 rugged stabilizers adjustable in heigh

􀂾 Handles and wheels

􀂾 Telescopi stainless steel mast

􀂾 220V - 16A - IP67 inlet plug

􀂾 220V - 16A - IP67 outlet socket

􀂾 Special coiled electrical cable complete

with housing

􀂾 Special pockets and eyelets for lifting

the structure with crane or forklift

􀂾 Stainless steel raising/lowering cable

133 wires

􀂾 Lamps cpmplete with bulbs

􀂾 Compact strong structure

􀂾 Indipendent linkable lighting tower
Metal halid lamps 4 x 400 W

L x W x H mm open =
1800 x 1400 x 7000
L x W x H mm closed =
1200 x 800 x 2330 
Weight =

244 kg

[image: image6.emf]
THREE 55 / THREE 70

􀂾 Maximum height: 5,5 / 7 meters

􀂾 Telescopic stainless steel mast

􀂾 Adjustable height stabilizers

􀂾 Wind stability 80 km/h

􀂾 Unassaible by oxidation (rust)

􀂾 Usable by single operator

􀂾 Manual winch with automatic brake, maximum load 350 kg

􀂾 Stainless steel raising/lowering cable 133 wires

􀂾 Halogen lamps in standard configuration

􀂾 Complete with bulb

􀂾 The extreme linghtness means easy handling and contained

transport cost
THREE 55 Halogen 4 x 500 W 

L x W x H mm open =
1840 x 1500 x 5500 
L x W x H mm closed =
350 x 400 x 1900
Weight =

 64 kg

THREE Halogen 4x 500 W or 2 x 1500 W
L x W x H mm open =
 2020 x 1500 x 7000
L x W x H mm closed =
 350 x 400 x 2350 
Weight =

 75 kg

 
[image: image7][image: image8.emf]
LT 4000

[image: image9.emf]
[image: image10.emf]
[image: image11.emf]
[image: image12.emf]
[image: image13.emf]
[image: image14.emf]
[image: image15.emf]
[image: image1][image: image16.png]


[image: image17.png]


